## Sheet2
P240
SL .No | Description | Quantity | Unit | Unit Price | Total Price
|  |  |  | (SGD) | (SGD)
Fire detection system
1 | Fire Alarm Master Panel | 1 | Set
Model:FN-4127/220V
2 | Intelligent Photoelectric Smoke Detector, with Base | 21 | Nos
Model: ALN-V,YBN-NSA-4
3 | Intelligent Heat Detector | 9 | Nos
Model: ATG-EA
4 | Addressable Manual Call Point | 9 | Nos
Model: DCP-AMS
5 | Horn & Strobe (wall mounted) | 10 | Nos
Model: HEC3-24WR
6 | Supervised Output Module : | 3 | Sets
Model: SOM-A
7 | Power Supply | 1 | Sets
Model: FN-600X-R (220V) (6 Amp max.)
8 | Commissioning of the whole system
1 Hochiki And 1 Zicom Engineer
App 3 days per panel
Locally
SL .No | Description | Quantity | Unit | Unit Price | Total Price | Remarks | Brand
|  |  |  | (BDT) | (BDT)
11 | Flame Retardant Signal Cable for initiating circuit and notification appliance |  | Meter | 23.42 |  | Red & Black | Paradise Cable Ltd
| 1C X 1.5mm2 | [5 empty] | BYA 1X1.5RM(FR)
12 | Power Cable for Fire & Annunciator Panel |  | Meter | 184.57 |  |  | Paradise Cable Ltd
| 3CX2.5mm2 (Non-Armored) | [5 empty] | NYY 3X2.5RM
13 | 20A MCB |  | No | 2000
14 | Accessories for Cable Laying
15 | 3/4 inch PVC Pipe |  | Meter | 20 |  |  | Electric pipe
16 | 3/4 inch hose pipe |  | Meter | 30
17 | Socket |  | Nos | 25
18 | Elbow |  | Nos | 30
19 | Sedel |  | Nos | 12
20 | 1” Screw |  | Dozen | 17
21 | Royal Plug |  | Packet | 14
22 | Transportation Cost