## Power Cable BOQ (2)
Power Cable BOQ 60 MMSCFD SILICAGELDEHYDRATION TYPE GAS PROCESS PLANTT BAPEX
Sl.No | Category | Description of Materials | Unit | Updated Length | Spec. | Remarks
24.0 | Power Cable
|  | 3CX 2.5mm2 | meters | 6500 | XLPE insulated, Multiwire stranded round conductor, Armoured.IEC Standard.
|  | 3CX 4mm2 | meters | 700
|  | 4CX 2.5mm2 | meters | 3900
|  | 4CX 4mm2 | meters | 1050
|  | 4CX 6mm2 | meters | 700
|  | 4CX 10mm2 | meters | 2500
|  | 4CX 16mm2 | meters | 1800
|  | 12CX1.5mm2 | meters | 6600
|  | 24CX 1.5mm2 | meters | 250
|  | 4C x 35 mm2 | meters | 350
|  | 1C X 150 mm2 | meters | 1100
|  | 4C X 95 mm2 | meters | 250